## Sheet1
NORTHERN |  |  | ELEMENTARY / INTERMEDIATE SCHOOLS
CALIFORNIA |  |  | MONTHLY SELF-INSPECTION REPORT
SCHOOLS
INSURANCE
GROUP |  |  | Retain this form in member safety file for review by JPA Risk Control Consultant.
Member: |  |  |  | Site:
Date of Inspection: |  |  |  | Inspector:
This self-inspection survey is designed only as a guide for your use. It is not intended, nor should it be construed as
meeting any obligation that may be imposed upon you under any federal, state or local laws, rules or regulations.
HOUSEKEEPING |  |  |  |  | Yes | No | N/A
1. | Indicate if the following locations are kept free of trash, waste paper, etc.
Offices and desk areas
Storage rooms
Utility / electrical rooms / boiler rooms
Shops
Classrooms
Overhead shelving
Fire Escape Routes
2. | Special closets provided for cleaning / floor polishing supplies?
3. | Flammable cleaning supplies, gas, oils, or solvents kept in approved safety containers?
4. | Paints / lacquers safely stored?
5. | Self-closing metal cans provided for oily / painted / soaked rags?
6. | Stairwells / spaces beneath stairs kept free from accumulation / storage of any combustible
materials?
7. | Sawdust / combustible waste removed daily?
HEATING & COOLING |  |  |  |  | Yes | No | N/A
1. | State operating permits obtained for LPG / air tanks and posted?
2. | Have filters been changed on all HVAC systems?
3. | Outside ground-level HVAC units fenced and locked?
ELECTRICAL |  |  |  |  | Yes | No | N/A
1. | Emergency lighting units installed, tested, and documented monthly?
2. | Are all panelboards, switch and fuse cabinets clean / marked properly?
3. | Combustible materials kept at least 36" away from electrical panel boxes & equipment?
4. | Are all outlet covers in outdoor wet areas in place, and in good repair?
FIRE ALARMS / DRILLS |  |  |  |  | Yes | No | N/A
1. | Monthly fire drills run with students, and results logged?
2. | Are fire alarm boxes free from obstructions and maintained properly?
EXTINGUISHERS |  |  |  |  | Yes | No | N/A
1. | Are all fire extinguishers being visually inspected monthly?
2. | Are extinguishers of the proper type for the area, and mounted at the proper height?
AUTOMATIC FIRE SPRINKLERS |  |  |  |  | Yes | No | N/A
1. | Is main sprinkler control valve accessible and free from obstructions?
2. | Are fire department hose conections on the exterior of the building free of debris, and the
hose connection caps intact?
3. | Have protective cages, covers, etc. been placed around sprinkler heads that hang low
from ceilings and stairways?
4. | Is 18 inches of clearance maintained around ALL sprinkler heads (including in closets
and above shelving)?
STAIRWELL AND FIRE DOORS |  |  |  |  | Yes | No | N/A
1. | Are automatic fire doors kept in operating condition and free from obstructions?
2. | Are fusible links intact, and free of dust build up, paint, etc.?
MULTI-PURPOSE ROOM / CAFETERIA / KITCHEN |  |  |  |  | Yes | No | N/A
1. | Is cooking equipment maintained in good condition?
2. | Are lighting and ventilation adequate in all areas?
3. | Are hood filters cleaned at least monthly?
4. | Are aisles and exit doors clear and unobstructed?
5. | Are floors free of water, grease, cracks, holes, broken tiles, or other defects?
6. | Are anti-slip mats provided where students may encounter wet areas?
7. | Are baffle-type grease filters installed vertically in ventilation hoods?
8. | Are walk-in refrigerators and freezers provided with thermometers?
9. | Are all food items and product expiration dates checked daily?
10. | Are water heaters properly strapped/secured for seismic protection?
11. | Are maximum occupancy limits posted in public areas?
12. | Are 3A 40B:C type fire extinguishers installed within 30 feet of cooking areas and
Class K (Wet Chemical) type fire extinguishers for grills and stoves?
INDUSTRIAL ARTS |  |  |  |  | Yes | No | N/A
1. | Are guards for wodworking machines intact, and dust collection system hoses properly
connected?
2. | Is automotive and heavy duty equipment properly maintained?
3. | Are power-actuated hand tools properly grounded / guarded, and cords in good repair?
4. | Are flammable liquids such as paints, thinners, solvents, etc., stored in UL-listed
cabinets or storage rooms?
5. | Are emergency eyewash stations tested and each test logged monthly?
6. | Are SDS / Right-To-Know information posted or in a binder, and updated as-needed?
7. | Is personal protective equipment (such as safety glasses, face shields, ear plugs, etc.)
available for students?
8. | Are all extension cords in good condition/no exposed wiring?
9. | Are oily rags disposed of in non-combustible containers?
SCIENCE / CHEMISTRY LABORATORIES |  |  |  |  | Yes | No | N/A
1. | Are SDS/Right-To-Know information posted?
2. | Are hand, eye, face PPE provided and required?
3. | Are electrical outlets and appliances properly guarded and GFCI protected/labeled?
4. | Are gas nozzles and valves tight, properly labeled, and in good working condition?
5. | Are emergency eye wash stations and deluge showers tested and logged monthly?
6. | Are flammables / corrosives stored separately and in accordance with the California
State Science Safety handbook?
CLASSROOMS / OFFICES / SPECIAL ED ROOMS |  |  |  |  | Yes | No | N/A
1. | Are filing cabinets secured to wall, floor, or bolted together?
2. | Are bookshelves and metal shelves secured to wall or each other?
3. | Are all combustible materials (paper, boxes, etc.) that may be stored overhead kept at
least 24 inches from ceiling, lights, and electrical equipment?
4. | Are TVs, media players, etc. strapped or bolted to media cart or shelf?
5. | Is protective equipment used when handling corrosive or toxic substances?
6. | Are flammable liquids stored in approved containers?
7. | Are combustible materials (paper, string, etc.) attached to ceilings?
8. | Are portable fire extinguishers mounted on walls and locations clearly marked?
9. | Are signs/maps posted for emergency exits and evacuation routes?
10. | Are decorations made of non-flammable materials?
11. | Are fire exits and pathways clearly marked and free of obstructions?
12. | Are all chemical containers (spray bottles, beakers, etc.) properly labeled?
13. | Is lighting and ventilation adequate in all areas?
14. | Are electrical cords and cables kept out of aisles or under tread guards to prevent
tripping hazards?
15. | Are stairway handrails and non-slip tread surfaces in good repair?
16. | Is 36 inches of clearance from combustibles maintained around all electrical panels?
17. | Are paper cutters equipped with latching devices, safety guards, and spring adjusted to
hold blade in position?
18. | Are ungrounded "two wire" extension cords prohibited from use?
19. | Is any wiring exposed at electrical plugs due to failed insulation connections?
20. | Is temporary wiring (including power strips and extension cords) "daisy chained"
(connected end-to-end)? If so, discontinue.
21. | Are combustible covers over windows or inside exit doors? If so, remove.
GYMS AND STAGES |  |  |  |  | Yes | No | N/A
1. | Emergency lights installed, tested and logged monthly?
2. | Basketball hoops and bleachers in good repair?
3. | Maximum occupancy limits determined and clearly posted?
4. | Side and back railings on open-sided bleachers (3rd row and above) inspected?
5. | Exits kept clear and fully illuminated?
IF ANY DEFICIENCIES ARE FOUND, COMMENT BELOW OR ON BACK AS TO CORRECTIVE
ACTIONS BEING TAKEN (Refer to item number).